## Cover Page
Project Title
Appendix - 1 Storm water Network - Calculation
Employer |  | client name | client logo
Employer's Consultant |  | ROYAL HASKONINGDHV
Revision : | P01
Date:

## Methodology
PROJECT TITLE:
SUBJECT: |  | Storm water Design | [5 empty] | PAGE NO:
-
PROJECT NO: | [5 empty] | FILE REF: |  | REV:
PREPARED BY: | [5 empty] | DATE: |  | REV DATE:
CHECKED BY: | [5 empty] | DATE:
(SEE CALC PAGE NO |  |  | - |  |  | FOR ALTERNATIVE CALCULATIONS) |  |  | C a l c u l a t i o n s
REF.
| 1 | Functional Requirements
The development area boundary is the key factor for working out all the requirements of the storm water
drainage. The development plan of project area is studied to identify the magnitude of services required
and land use also decides the development of drainage network.
For storm water drainage system, considerations included are;-
1. Rainfall Intensity
2. Rational Method is used for determination or estimation of storm water run-off;
3. Traditional trench are porposed to all container areas and building areas. Pipe conduits are proposed at outfall -
location (which includes pipe connection from Oil sepeartors to flap valve at outlet )
4. Hume pipe/ box culvert is proposed wherever roads are crossing .
| A | Design computations of storm channels/conduits are given as follows :
Reynold's number
For open channel flow of any cross section :
Re = VR/ v
For flow in pipe of diameter D :
Re = VD/ v
Where ,
|  | Re | = | Reynold's Number (dimensionless)
|  | V | = | Cross sectional mean velocity in m/sec
|  | D | = | diamenter of pipe
|  | R | = | Hydroulic Radius (A/P) in m
|  | v | = | Kinematic viscosity in m2/sec
|  | P | = | wetted perimeter in m
For Open Channel flow, is Laminar when Re <-500
Turbulant when Re > 1000
for Pipe flow, is Laminar when Re <-2000
Turbulant when Re >- 4000
| B | Design velocities to be ensured in gravity storm channels:
Minimum velocity = 0.6m/s
Maximum velocity = 3 m/s
| C | Freeboard in open channels
Freeboard shall be sufficient to prevent waves, super elevation changes, or fluctuations in water surface from overflowing the sides
Minimum free board for open channels shall be considered as 100 mm.
For storm conduits , freeboard is not defined as they are supposed to run full.
| D | Rational Method
The rational method is widely used for design of storm drainage systems. For design of drainage system,
it is given by the following expression,
Q = CIA
Where,
k is conversion factor
|  |  | Q | is maximum flow/ maximum rate of run off (CFS)
|  |  | C | is the runoff Coefficient
I is the Intensity of rainfall in inch/hr, and
|  |  | A | is the catchment of the area under consideration in Acres.
The above expression indicates the rate of storm water runoff is directly proportional to the intensity of rainfall against the period
of maximum storm of a given frequency.
| E | Design Formula
The hydraulic design of storm water system will be done in house developed excel based software using
Manning’s formula

## Design - Storm water Drains
Project Title
Appendix - 1
Storm water network calculations
Traditional storm trench sizing :-
REV-01 | Dated :
Discharge Required | [9 empty] | Proposed Drains | [12 empty] | Design Check/Proposed |  | Ground levels |  |  | Invert Level |  |  | Chamber Details
S.No. | Start Node | End Node | Location/Area | Length (m) | Catchment Area (sq. m) | Catchment Area (Ha) | Coefficient ( C ) | Rainfall Intensity (mm/Hr) | Discharge (m3/sec) | W - Width (m) | D - Depth (m) | Free Borad (m) | Effective Depth (m) | Effective Area (A) (Sqm) | Wetted perimeter (P) | Gradient 1 in | Slope/Gradient | R = A / P | Maning's "n" | 1/n | Carrying Capacity (m3/sec) | Check for carrying Capacity | Velocity (m/sec) | Check for Velocity | Start (m) | End (m) | Drain cover depth (m) | Drop (m) | Start (m) | End (m) | Chamber No | Dimensions | Chamber depth (To be rounded to nearest value)
1 |  |  |  | 113.5 | 3095 | 0.3095 | 0.95 | 50 | 0.040837 | 0.4 | 0.4 | 0.1 | 0.3 | 0.12 | 1 | 1000 | 0.001 | 0.12 | 0.013 | 76.9231 | 0.071016 | TRUE | 0.5918 | FALSE |  |  | 0.15 | 0.1135 | -0.55 | -0.6635 |  |  | 0.6635
|  |  |  | 114.5 | 3095 | 0.3095 | 0.95 | 50 | 0.040837 | 0.4 | 0.4 | 0.1 | 0.3 | 0.12 | 1 | 1000 | 0.001 | 0.12 | 1.013 | 0.98717 | 0.00091137 | FALSE | 0.0075947 | FALSE |  |  | 1.15

## Design-HDPE pipe
Project Title
Appendix - 1
Storm water network calculation - Pipe Sizing
HDPE Pipe sizing :-
REV-01 | Dated :
Discharge & Pipe size ( outfall) Required** | [16 empty] | Check for Velocity |  |  | Check Q
Sr. No. | Start Node | End Node | Length (m) | Location/Area | Catchment Area (Ha) | Coefficient ( C ) | Rainfall Intensity (mm/Hr) | Discharge Q (m3/sec) | Slope (1 in ___) | Slope (S) | Slope (S^0.50) | Manning's N for HDPE Pipe | Dia of Pipe (m) | Dia of Pipe (mm) | Velocity (m/sec) | Dia of pipe Proposed (m) | 1/n | Velocity (m/sec) | Status | M3/S
1 |  |  |  | Out Fall 01 & 01A |  |  |  | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0! | #DIV/0!
2 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
3 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0! | #DIV/0!
4 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0! | #REF!
5 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
6 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0! | #DIV/0!
7 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
8 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0! | #REF!
9 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0! | #DIV/0!
10 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0! | #DIV/0!
11 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
12 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
13 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
14 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
15 |  |  |  | Out Fall 02, 02A & 02B |  |  |  | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
16 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
17 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
18 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
19 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
20 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
21 |  |  |  | Out Fall 03 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
22 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
23 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
24 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
25 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
26 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
27 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
28 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
29 |  |  |  | Out Fall 04 |  |  |  | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
30 | [7 empty] | 0 |  | #DIV/0! | #DIV/0! | 0.009 | #DIV/0! | #DIV/0! | #DIV/0! |  | 111.1111 | #DIV/0! | #DIV/0!
NOTE : ** | The storm design calculations mentioned above are formulated from the concept design to estimate preliminary trench/pipe sizes and quantify the stormwater networks and accessories.
Therefore, the Contractor will need to revise all the aforementioned details and calculations during the detailed design stage to meet the actual requirements of the storm network system.

## Storm water calc - Rational (hidden)
Client logo | DESIGN OF project name
Appendix -
Storm water network calculation -
Minimum Storm Quantity as per therotical calculations ( Rational Method) :-
C = | 0.9
I= | #VALUE! | in/hr |  | XX | mm/hr = As per client data
A= | 0 | acres
Q = | #VALUE! | CFS
= | #VALUE! | Liters/sec
Total storm water quantity |  | #VALUE! | Liters/sec